Mail to: 	                                 MARYLAND DEPARTMENT OF THE ENVIRONMENT

# WATER SUPPLY PROGRAM

1800 Washington Blvd., STE 450, Baltimore, Maryland 21230-1708

(410) 537-3729  (800) 633-6101 http://www.mde.state.md.us

# DISINFECTION BY-PRODUCTS SELF-MONITORING REPORT

PWSID___________________SYSTEM NAME _____________________________________COUNTY_______________________

SAMPLE SITE ID_____________________SAMPLE SITE ADDRESS__________________________________________________

SAMPLE TYPE: RAW _____ FINISHED_____SAMPLE LOCATION (well, sample tap, sink, etc.)_____________________________

DATE COLLECTED _________________________________________TIME____________________________________________

SAMPLER ID_______________SAMPLER NAME_____________________________________PHONE______________________

LAB CERT#: _______________LABORATORY ______________________________________ PHONE ______________________

LAB SAMPLE ID________________________DATE RECEIVED__________________ DATE REPORTED___________________

REMARKS:________________________________________________________________________________________________

Contaminant		   EPA ID	 MCL	    Actual	        Detection	          EPA analytic	 Analysis

(ppb)	    Level(ppb)	        Limit (ppb)	          method Used	 Date

### REGULATED

TRIHALOMETHANES

Bromodichloromethane	   2943			    __________

Bromoform 		   2942			    __________

Chloroform           	   2941			    __________

Dibromochloromethane	   2944			    __________

Total  Trihalomethanes			80	    __________

### HALOACETIC ACIDS

Monochloroacetic Acid	   MCAA			    __________

Monobromoracetic Acid	   MBAA			    __________

Dichloroacetic Acid	   DCAA			    __________

Trichloroacetic Acid	   TCAA			    __________

Dibromoracetic Acid	   DBAA			    __________

Total  HAA5				60	    __________

### ADDITIONAL PARAMETERS

Bromochloroacetic Acid	   BCAA			    __________

Bromodichloroacetic Acid	   BDCA			    __________

Chlorodibromoacetic Acid	   CDBA			    __________

Tribromoacetic Acid	   TBAA			    __________

_________            ___________           ____________

_________            ___________	          ____________

_________            ___________	          ____________

_________            ___________            ____________

_________            ___________	          ____________

_________            ___________	          ____________

_________            ___________	          ____________

_________            ___________	          ____________

_________            ___________	          ____________

_________             ___________	         ____________

_________             ___________	         ____________

_________             ___________	         ____________

_________             ___________	         ____________

Chlorite			   CH		1000	    __________	        _________             ___________	____________

Bromate			   BR		10	    __________	        _________             ___________	____________

MCL - Maximum Contaminant Level

THM Detection limit = ( < 0.5 ppb)

NT - Not Tested

ppb - parts per billion (micrograms per liter)

I do hereby certify that this record contains no willful misrepresentations or falsifications and that this information given

by me is true to the best of my knowledge and belief.  I further certify that the methods and quality control measures used to produce these laboratory results were implemented in accordance with the requirements of this laboratory's certification under COMAR 26.08.05.

SIGNATURE________________________________________________________________DATE_______________________________________

DBP/MDE/WMA/COM.010 (Revised 07/02)                                                           		                                    TTY Users 1-800-735-2258