MARYLAND DEPARTMENT OF THE ENVIRONMENT

WATER SUPPLY PROGRAM

1800 Washington Blvd. Ste. 450 Baltimore Maryland 21230-1708

(410) 537-3729 • (800) 633-6101• http://www.mde.state.md.us

═══════════════════════════════════════════════════════════════════════════════════════════

LEAD AND COPPER MONITORING REPORT FORM

For Community Water Systems

═══════════════════════════════════════════════════════════════════════════════════════════

System Name: ___________________________________________________   PWSID #: _________________________

County: ______________________________________________	Population:  ______________________________

Laboratory: ___________________________________________	Laboratory Certification ID#:  ______________________

Monitoring  Record for:	Year	_______________	Period			January - June

(CIRCLE ONE)	July - December

June - September (REDUCED)

This report must be submitted within 10 days following the end of the monitoring period.

THE RESULTS OF THE LEAD AND COPPER WATER SAMPLES, INCLUDING LOCATIONS AND DATES OF COLLECTION AND ANALYSES, MUST BE ATTACHED TO THIS DOCUMENT AND RETURNED TO THE ABOVE ADDRESS

# of Samples Required ___________				# of Samples Analyzed ___________

Calculating the 90th percentile:

For lead and copper, list samples from the highest recorded value to the lowest recorded value.  Starting from the bottom (lowest value) count up until the calculated number (# of samples analyzed x 0.9) is reached.  The sample value in this number position is the 90th percentile.

90th Percentile Value Lead:  ________________mg/L		90th Percentile Value Copper:  ________________mg/L

TARGETING CRITERIA (Community Water Systems):

Tier 1 Sites

______________	# of single-family structures that are served by lead service lines and/or contain lead pipes or copper pipes with lead solder installed after 1982

______________	# of multiple-family structures that are served by lead service lines and/or contain lead pipes or copper pipes with lead solder installed after 1982 (only counted as Tier 1 when constitute at least 20% of the service connections)

Tier 2 Sites

______________	# of multiple-family structures that are served by lead service lines and/or contain lead pipes or copper pipes with lead solder installed after 1982

Tier 3 Sites

______________	# of single-family structures that contain copper pipes with lead solder installed before 1983

Exceptional Sites (other than classifications listed)

______________	Describe:	_________________________________________________________________________

______________ TOTAL (should equal # samples analyzed)

Lead Service Lines

Are lead service lines present within the distribution system? Yes or No (circle one) If no, skip this section.

A.	# of samples required to be collected from lead service line sites				_______________

B.	# of samples collected from lead service line sites					_______________

C.	Difference (A-B).  Explain if other than zero.						_______________

Methods used to identify lead service line sites:  (attach additional pages if necessary)

___________________________________________________________________________________________________

CERTIFICATION OF COLLECTION METHODS:

I certify that:

1.	Each first-draw tap sample for lead and copper is one liter in volume and to the best of my knowledge, has stood motionless in the plumbing system of each sampling site for at least six hours.

2.	Each first-draw sample collected from a residential building has been collected from the cold water kitchen tap or bathroom sink tap.

3.	Each first-draw sample collected from a non-residential building has been collected at an interior tap from which water is typically drawn for consumption.

4.	Each first-draw sample collected during a reduced monitoring period (annual or triennial) has been collected in the months of June, July, August, or September.

5.	Each resident who volunteered to collect tap water samples from his or her home has been properly instructed by this water system in the proper methods for collecting lead and copper samples.  I do not challenge the accuracy of those sampling results.  Enclosed is a copy of the material distributed to residents explaining the proper collection methods, and a list of the residents who performed sampling.

SIGNATURE	_______________________________________________________________________________________

___________________________________________________________	______________________

NAME (printed or typed)								DATE

___________________________________________________________   	______________________

TITLE										PHONE NUMBER

MDE 274A

Revised 11/02

TTY Users 1-800-735-2258