Date: __________________________

Water Supply Program

Maryland Department of the Environment

1800 Washington Blvd, STE 450

Baltimore, MD 21230-1708

RE: Phase II & V Acrylamide & Epichlorohydrin Certification

Dear Sir or Madam:

The ___________________________________________________________________ public water system, public water identification number ______________________ uses polymers in the treatment of drinking water.

The name of the polymer that we use is __________________________________ and it is fed at the following concentration: _________ mg/L.

We are certifying that when acrylamide and epichlorohydrin are used in our drinking water system, the combination (or product) of dose and monomer level does not exceed the following levels (check the applicable sections):

______	Acrylamide = 0.05% dosed at 1 mg/L (or equivalent);

______	Epichlorohydrin = 0.01% dosed at 20 mg/L (or equivalent).

Certified by:

______	Manufacturer: ______________________________;

______	Third Party Name: _______________________________.

Name and phone number of person completing form:

Name (please print): _________________________________;

Phone Number: __________________________.

Sincerely,

_______________________________