Mail to: 	                                 MARYLAND DEPARTMENT OF THE ENVIRONMENT

# WATER SUPPLY PROGRAM

1800 Washington Blvd., STE. 450, Baltimore, Maryland 21230-1708

(410) 537-3729  (800) 633-6101 ext. 3729 http://www.mde.state.md.us

VOLATILE ORGANIC SELF-MONITORING REPORT

PWSID_______________SYSTEM NAME________________________________________COUNTY__________________________

PLANT ID_____________PLANT NAME___________________________________________________________________________

SAMPLE SITE ADDRESS______________________________________________________________________________________

SAMPLE TYPE:  RAW_______ FINISHED_______SAMPLE LOCATION (well, sample tap, sink, etc.)__________________________

DATE COLLECTED_______________________________________________ TIME_______________________________________

SAMPLER ID__________________SAMPLER NAME_________________________________PHONE_________________________

LAB CERT#:___________________LABORATORY___________________________________PHONE________________________

LAB SAMPLE ID________________DATE RECEIVED___________ REPORTED___________EPA TEST METHOD______________

REMARKS:__________________________________________________________________________________________________

CONTAMINANT	               EPA ID	            MCL	ACTUAL	                      CONTAMINANT		      EPA ID	      ACTUAL

ppb	LEVEL(ppb)							      LEVEL(ppb)

### REGULATED							    UNREGULATED

Benzene			2990		5	________

Carbon Tetrachloride	2982		5	________

o-Dichlorobenzene	2968	          600	________

p-Dichlorobenzene	2969                   75	________

1,2-Dichloroethane	2980		5	________

1,1-Dichloroethene	2977		7	________

cis-1,2-Dichloroethene	2380	            70	________

trans-1,2-Dichloroethene	2979 	          100	________

Dichloromethane	 	2964		5	________

1,2-Dichloropropane	2983		5	________

Ethylbenzene		2992	          700	________

Monochlorobenzene	2989	          100	________

Styrene			2996	          100	________

Tetrachloroethene (PCE)	2987		5	________

Toluene			2991	        1000	________

1,2,4-Trichlorobenzene	2378	            70	________

1,1,1-Trichloroethane	2981	          200	________

1,1,2-Trichloroethane	2985		5	________

Trichloroethene (TCE)	2984		5	________

Vinyl Chloride		2976		2	________

Xylenes (Total)		2955	      10000	________

TRIHALOMETHANES

Bromodichloromethane	2943			________

Bromoform 		2942			________

Chloroform           	2941			________

Dibromochloromethane	2944			________

MCL - Maximum Contaminant Level

Detection limit = (< 0.5 ppb)

NT - Not Tested

ppb - parts per billion (micrograms per liter)

Chloromethane			2210		________

Bromobenzene			2993		________

Bromochloromethane		2430		________

Bromomethane			2214		________

n-Butylbenzene			2422		________

Sec-butylbenzene		2428		________

Tert-butylbenzene		2426		________

Chloroethane			2216		________

o-Chlorotoluene			2965		________

p-Chlorotoluene			2966		________

m-Dichlorobenzene		2967		________

Dibromomethane			2408		________

1,1-Dichloroethane		2978		________

1,3-Dichloropropane		2412		________

2,2-Dichloropropane		2416		________

1,1-Dichloropropene		2410 		________

1,3-Dichloropropene		2413		________

Dichlorodifluoromethane		2212		________

Hexachlorobutadiene		2246		________

Isopropylbenzene		              2994		________

p-Isopropyltoluene		2030		________

MTBE				2251		________

Naphthalene			2248		________

n-Propylbenzene			2998		________

1,1,1,2-Tetrachloroethane	              2986		________

1,1,2,2-Tetrachloroethane		2988		________

1,2,3-Trichlorobenzene		2420		________

Trichlorofluoromethane		2218		________

1,2,3-Trichloropropane		2414		________

1,2,4-Trimethylbenzene		2418		________

1,3,5-Trimethylbenzene		2424		________

m-xylene			2995		________

o-xylene				2997		________

p-xylene				2962		________

I do hereby certify that this record contains no willful misrepresentations or falsifications and that this information given by me is true to the best of my knowledge and belief.  I further certify that the methods and quality control measures used to produce these laboratory results were implemented in accordance with the requirements of this laboratory's certification under COMAR 26.08.05.

SIGNED__________________________________________________DATE______________________________________

VOC/MDE/WMA/COM.009 (Revised 07/02)                                                                                                                                     TTY USERS 1-800-735-2258