===========================================================================

THE LEAD AND COPPER RULE

SAMPLE COLLECTION FORM

For Residential Buildings

===========================================================================

BACKGROUND

These samples are being collected to determine the contribution of household plumbing (e.g. pipes, fixtures, solder, etc.) to the lead and copper levels in drinking water.  This sampling effort is required by the Environmental Protection Agency (EPA), and is being accomplished through the cooperation of homeowners and residents.

A sample is to be collected after an extended period (6 hours) of stagnant water conditions within the interior plumbing.  This means the water in the building cannot be used for any reason, including toilet flushing, showers, etc.  Due to this requirement, early morning is the best time to collect samples.

REQUIREMENTS

	The sample tap location must be the kitchen sink or bathroom sink.

	The sample must be collected from a COLD water tap.

	The sample bottle must be one liter (or 1000 milliliters) in volume.

	The water must stand in the plumbing for a minimum of 6 hours (and a recommended maximum of 18 hours).  This is referred to as a "First Draw" sample.

DIRECTIONS

1.	After the water has been dormant in the plumbing for a minimum of 6 hours, place the 1 liter bottle under the cold water tap.

2.	Gently open the cold water tap directly into the bottle and fill the bottle to the neck ( or line marked “1-L” or "1000-mL").

	Do not allow the tap to flow prior to collection.

	Do not rinse bottle prior to collection.

	Do not overfill.

3.	Tightly cap the sample bottle.

4.	Review the sample bottle label to ensure that all of the information contained on the label is correct.

5.	Fill out the bottom portion of this sheet and return with the sample bottle.

_____________________________________________________________________________________

Sample ID#:	________________________

(should correspond with sample bottle label #)

TO BE COMPLETED BY THE PERSON COLLECTING THE SAMPLE:

Name:		_______________________________________________

Address:	_______________________________________________Telephone #:	_____________

_______________________________________________

Sample tap location (kitchen sink, bathroom sink, etc.):	___________________________________

Water last used:		Time:__________	Date:____________

Sample was collected:	Time:__________	Date:____________

Length of time water remained in pipes before sample was drawn:________hours

Any plumbing changes since the last sample was collected from this location? Yes_____  No_____

(If yes, explain on back of form)

CERTIFICATION:

I have read the above directions and have collected this sample in accordance with these directions

_____________________________________________________________________________________

SIGNATURE											DATE